## Slide 1
Yes
Input data
IEEE 33-bus, P1/P2 EVCS placements, D1–D4 demand levels, BESS parameters
No-BESS BFS power-flow screening
Compute , , , HCM — all placement–demand cases
Voltage or thermal violation?
B4-PQ residual-voltage recovery
Find and compute =
B4-P active-power bisection sizing
​= [​− ​
No violation
= 0, = 0
Case recorded
Post-B4-P BFS validation
Validate , , , HCM, identify residual voltage limitation
< after B4-P?
Thermal + Voltage
B4-P sufficient; proceed
Off-peak recharge deliverability
Evaluate for = 7 h / 10 h / 12 h
Planning outputs
No
Yes
No

## Slide 2
Prescribed Feeder Stress State
IEEE 33-bus, P1/P2 EVCS placements, D1–D4 demand levels
No-storage BFS Assessment
, ,
Branch overload?
No Branch-Loading Violation
= 0
Yes
No
Centralized Branch-Loading Relief
Post-Allocation BFS
0.95 pu.?
Unity-Power-Factor Correction
Storage-Energy Envelope
2 / 4 / 6 h
Synchronous Recharge
post-stress state, common recharge duration
What constraint binds?
Active-rating/efficiency-limited
Voltage-limited
Five Adequacy Requirements
Additional Local Capacitive Support
Conditional PCS Capability
if the BESS PCS supplies the local
Yes
No